In this investigation, you will form a team of two individuals to explore Newton’s Laws with a Force Probe and the CBL2.

Load the DATAMATE program on one of the team’s calculators. It takes 3 slots in your APPS area, so make sure you have enough free space. Use TI Connect to back up files that you want to keep before you delete them.

Part I: Calibration

Run the DATAMATE program, with the Force probe plugged into Channel One. If you are using the Dual-Range Force probe, set it to the 10 Newton level. Set up the software to know that it has a Force Probe plugged into CH1. Then Calibrate the probe. Use two known masses/forces, and report the values and voltages reported for each. Report the calibration equation and identify the exact probe you are using for later.

Part II: RAMP UP

Set up an inclined plane with a pulley at the top of the ramp. Place a mass on the ramp in a frictionless way, and connect it with a string to the Force probe (place the probe where the 20 kg mass is in the drawing below). In the Events with Entry mode, collect the reading on the probe for each of 7 different angles of the ramp. Spread these values over the 0 to 90 degree range. Report the weight of the mass used on the incline.

| Angle in Degrees | Force Reading on the Probe |
| --- | --- |

Look at the plot of Force vs. Angle. Determine the relationship. Compare the results to the following:

Weight of the Mass on the Incline * Sine of the Angle of the Ramp = Force on the Mass along the Ramp (the Tension on the Sting)

W*sin(() = FT