EasyData Guidebook

Easy and Simple Data Collection using Vernier Sensors and Texas

Instruments graphing calculators

Vernier Software & Technology

13979 S.W. Millikan Way ( Beaverton, OR 97005-2886

Toll Free (888) 837-6437 ( (503) 277-2299 ( FAX (503) 277-2440

info@vernier.com ( www.vernier.com

EasyData Guidebook © 2005 Vernier Software & Technology. All rights reserved. You are entitled to reproduce parts of this manual for use in your school only. No part of this manual may be used or reproduced in any other manner without written permission of Vernier Software except in the case of brief quotations embodied in critical articles or reviews.

The terms Vernier EasyData and Vernier EasyTemp are trademarks. LabPro and Logger Pro are registered trademarks of Vernier Software & Technology in the United States of America. Graphical Analysis is copyrighted by Vernier Software & Technology. CBL, CBL 2, CBR, TI Connect, and TI-GRAPH LINK are trademarks of Texas Instruments Incorporated. The term Macintosh is a registered trademark of Apple Computer, Inc. Windows is registered trademark of Microsoft Corporation.

Published by

Vernier Software & Technology

13979 SW Millikan Way

Beaverton, Oregon 97005-2886

(503) 277-2299

1-888-837-6437

FAX (503) 277-2440

www.vernier.com

info@vernier.com

First Edition 2005

First Printing

Printed in the United States of America

# EasyData Guidebook
Table of Contents

Getting Started with EasyData	1

Overview	1

What is EasyData?	1

What Combinations of Equipment does EasyData Support?	1

How Do I Get EasyData on My Calculator?	2

Setting Up and Using EasyData	3

Using EasyData with EasyTemp	3

Using EasyData with CBR, CBR 2, or Go!Motion	3

Using EasyData with LabPro or CBL 2	3

EasyData Tutorial 1	5

A Hot Hand using EasyTemp	5

EasyData Tutorial 2	7

Heat of Fusion Using EasyTemp	7

EasyData Tutorial 3	10

Graphing Your Motion Using CBR, CBR 2 or Go!Motion	10

EasyData Tutorial 4	11

Distance Match Using CBR, CBR 2 or Go!Motion	11

EasyData Tutorial 5	12

Temperature Probe Response Time Using LabPro or CBL 2	12

EasyData Tutorial 6	14

Boyle’s Law Using LabPro or CBL 2 and a Gas Pressure Sensor	14

EasyData in Detail	16

Main Screen	16

Using the Setup Menu	16

Data Collection	18

Appendices	19

A: EasyData VS. DataMate	19

B: Easydata Help	19

C: EasyData Error Messages	19

D: Supported Data Collection Rates	20

E: Supported Sensors for EasyData	20

F: Non-Supported Sensors for EasyData	20

Getting Started with EasyData (Version 1.0)

Overview

This manual will provide the following

- an overview of EasyData

- quick start instructions

- a series of tutorials

- a detailed look at the program

What is EasyData?

The Vernier EasyData™ application is an easy-to-use data-collection program for the TI-83 Plus, TI-83 Plus Silver Edition, TI-84 Plus and TI-84 Plus Silver Edition graphing calculators. It supports a wide range of sensors, e.g., pH, Oxygen Gas, Dual-Range Force, etc. and a wide range of data collection devices as well, e.g., CBL 2™, CBR 2™, Vernier EasyTemp™, etc. EasyData brings a new level of simplicity to calculator-based data collection. Program navigation is performed using the five graph keys, located directly below the graph screen, making data collection simple and fast. Program options are displayed in pop-up dialog boxes or simple wizards.

What Combinations of Equipment does EasyData Support?

When using TI graphing calculators to collect data, you have a number of choices. First of all there are several data collection devices including CBL 2, LabPro®, CBR™, CBR 2, Go!™ Motion and Vernier EasyTemp. Second there are many TI graphing calculators, and in this document we will deal with the TI-83 Plus and TI-84 Plus families of calculators. The TI-83 Plus and TI-84 Plus calculators each have a calculator I/O port that can be used to collect data, but the TI-84 Plus family of calculators also has a USB port that can be used to collect data. As you can see there are many options, and EasyData supports data collection with all of these combinations. The following gives you a more detailed look at your data collection options.

TI-83 Plus and TI-83 Plus Silver Edition

Data collection on the TI-83 Plus family of calculators is done through the calculator I/O port located on the bottom of the calculator. To collect motion data, you can connect a CBR, CBR 2 or Go! Motion directly to the I/O port. For all other measurements, you can connect a CBL 2 or Vernier LabPro interface to the I/O port. When using a CBL 2 or LabPro most of the Vernier Auto-ID sensors can be used. For a complete list of compatible sensors refer to Appendix E.

TI-84 Plus and TI-84 Plus Silver Edition

Data collection with the TI-84 Plus family of calculators can be done through the calculator I/O port or the USB port. The I/O port allows you to connect a CBR or CBR 2 directly to the calculator to collect motion data. The I/O port also allows you to connect a CBL 2 or LabPro to the calculator. The CBL 2 and LabPro allow you to collect data from a wide variety of sensors. See Appendix E for a complete list of compatible sensors.

The USB port on TI-84 Plus family of calculators, gives you two more data collection options. Through this port you can attach an EasyTemp temperature probe, which lets you collect temperature data directly with the calculator. The CBR 2 or Go! Motion, which collect motion data, can also be connected directly to the calculator through USB. In either case, data collection with these devices is extremely easy. You simply turn the calculator on, plug in a EasyTemp, CBR 2 or Go! Motion, and EasyData automatically launches preparing you to collect data.

How Do I Get EasyData on My Calculator?

EasyData is part of the bundle of APPS that come preloaded onto all new TI-84 Plus and TI-84 Plus Silver Edition graphing calculators. If your calculator was purchased after January 2005, then your calculator probably already contains EasyData. To check your calculator, press  and scroll through the list of loaded applications. If your graphing calculator does not contain the EasyData App, you can download EasyData from the Vernier website http://www.vernier.com/easy.html and use TI Connect to transfer it to your graphing calculator

Setting Up and Using EasyData

This section includes six tutorials which will teach you how to use the EasyData App to collect data with an EasyTemp, CBR/CBR2 or Go!Motion, or a LabPro or CBL 2 interface. The tutorials have been divided into three categories according to the equipment they use. Each of the categories are listed below and we suggest that you perform both tutorials in a section, starting with the first.

The directions and tutorial for using EasyTemp require the use of a TI-84 Plus or TI-84 Plus Silver Edition graphing calculator. The directions and tutorial for using a CBR, CBR 2 or Go!Motion, or a LabPro or CBL 2 have been written to work with the following TI graphing calculators: TI-83 Plus, TI-83 Plus Silver Edition, TI-84 Plus, or TI-84 Plus Silver Edition.

Using EasyData with EasyTemp

Follow these three simple steps to collect data with your EasyTemp:

1.	Turn on your calculator and make sure it is on the Home screen.

2.	Connect the EasyTemp to the calculator’s USB port and EasyData will automatically start.

3.	On the Main screen select  to begin data collection.

Now that you have the basics you may want to try the EasyData tutorial, “A Hot Hand”, on page 5. When you have completed the tutorial, proceed to the next tutorial “Heat of Fusion” to learn how to use additional data-collection features of EasyData.

Using EasyData with CBR, CBR 2, or Go!Motion

Follow these four simple steps to collect motion data.

1.	Turn on your calculator and make sure it is on the Home screen.

2.	If you are using a CBR, then connect it to the calculator’s I/O port. If you are using a CBR 2 or Go!Motion, then you can connect using either the I/O port or the USB port. Connecting through the USB port will automatically start EasyData.

3.	If EasyData did not automatically launch, then press  to open the Applications menu and select EasyData.

4.	On the Main screen select  to begin data collection.

Now that you have the basics you may want to try the EasyData tutorial, “Graphing Motion”, on page 10. When you have completed the tutorial, proceed to the next tutorial “Distance Match” to learn how to use additional data-collection features of EasyData.

Using EasyData with LabPro or CBL 2

Follow these three simple steps to collect data with a LabPro or CBL 2.

1.	Connect the LabPro or CBL 2 interface to the calculator’s I/O port. Connect your sensor to CH1 of the interface. If you wish to collect data with two sensors, connect them to CH1 and CH2.

2.	Turn on your calculator, press  to open the Applications menu, and select EasyData.

3.	On the Main screen select  to begin data collection.

Now that you have the basics you may want to try the EasyData tutorial, “Temperature Response Time”, on page 12. When you have completed the tutorial, proceed to the next tutorial “Boyle’s Law” to learn how to use additional data-collection features of EasyData.

EasyData Tutorial 1

A Hot Hand Using EasyTemp

In this activity you will learn how to use the Vernier EasyTemp temperature probe and the EasyData application. You will measure the temperature of the palm of your hand.

MATERIALS

| TI-84 Plus or TI-84 Plus Silver Edition | beaker |
| --- | --- |
| graphing calculator | water |
| Vernier EasyTemp | paper towel |
| Vernier EasyData App |  |

Figure 1

PROCEDURE

- Turn on your TI graphing calculator and make sure that it is on the Home screen.

- Plug the EasyTemp probe into the USB port of the graphing calculator. EasyData will automatically start and the Main screen will be displayed.

The Main screen displays the current reading from the EasyTemp probe. Also displayed, is the default experiment setup for the EasyTemp which is a time graph experiment that will collect data for 180 seconds.

At the bottom of the Main screen are five options (, , , , and ). Each of these options can be selected by pressing one of the five calculator keys located below each option (, ,  ,  , and ).

Select  and then select New to reset the program.

- Measure the temperature of the palm of your hand.

  - Select  (press the  key) to begin the data collection.

  - Place the tip of the EasyTemp probe in the palm of your hand as shown in Figure 1. A graph of temperature vs. time will appear on the calculator screen. The graph will show an increase in temperature as the probe warms up to the temperature of your palm. Once the temperature levels off, select  (press the  key).

- Determine your highest temperature.

  - When the data collection is complete, a graph of temperature vs. time will be displayed. Use the  and  keys to examine the data points along the curve. As you move the cursor, the time (X) and the temperature (Y) values of each data point are displayed above the graph.

  - Write down your highest temperature. Note that EasyData rounds off the temperature readings to the nearest 0.1ºC.

  - Select  (press the  key) to return to the Main screen.

- (optional) Prepare the EasyTemp probe for a second trial.

  - Cool the EasyTemp probe by placing it in a beaker of room temperature water until its temperature reaches the temperature of the water. The temperature of the probe is displayed in a box on the Main screen.

  - Use a paper towel to dry the probe. Be careful not to warm the probe as you dry it.

  - Repeat Steps 2 and 3 to collect a second set of data.

- On the Main screen, select  (press the  key). Select  (press the  key) to exit EasyData.

EasyData Tutorial 2

Heat of Fusion Using EasyTemp

During melting, heat is absorbed by the melting solid. In this experiment, you will determine how much heat is needed to melt 1 g of ice. Heat has units of joules (J). The heat used to melt the ice will come from the cooling of warm water and will be measured with a calorimeter. A calorimeter is an insulated container fitted with a device for measuring temperature. You will use a simple calorimeter made of a Styrofoam cup, a 250-mL beaker, and an EasyTemp temperature probe.

MATERIALS

| TI-84 Plus or TI-84 Plus Silver Edition graphing calculator | balance warm water |
| --- | --- |
| Vernier EasyTemp | 100-mL graduated cylinder |
| Vernier EasyData App | one ice cube |
| Styrofoam cup | one paper towel |
| 250-mL beaker |  |

Figure 1

PROCEDURE

1.	Turn on your TI-84 Plus (or TI-84 Plus Silver Edition) graphing calculator and make sure that it is on the home screen. Plug the EasyTemp probe into the USB port of the graphing calculator. The EasyData program will automatically start and the Main screen will be displayed. Select  and then select New to reset the program.

2.	Notice that EasyData is set up to measure temperature in ºC. Let’s change the program to measure in ºF.

  - Select  from the Main screen.

  - Select Temp.

  - Select .

  - Select F and then select .

3.	The default experiment length is 180 seconds, but let’s change that to 300 seconds.

  - Select  from the Main screen.

  - Select Time Graph.

  - Select .

  - Press the  key on the calculator and type 4 as the sample interval, in seconds.

  - Select .

  - Press the  key on the calculator and type 75 as the number of samples.

  - Select .

  - Confirm that the time graph settings are correct and select .

4.	Get a 250-mL beaker and a Styrofoam cup. Place the Styrofoam cup into the beaker, as shown in Figure 1. Use a balance to measure the mass of the 250-mL beaker and the Styrofoam cup. Write down the mass in your data table.

5.	Use a 100-mL graduated cylinder to measure out 100 mL of the 30°C water into the Styrofoam cup. Measure the mass of the 250-mL beaker, Styrofoam cup, and 100 mL of warm water. Write down the value in the data table.

6.	Break an ice cube into a few pieces in a paper towel.

7.	Place the EasyTemp probe into the warm water. Select  to begin data collection. The temperature reading, in °C, is displayed at the top of the screen. Wait until the temperature reaches a maximum (it will take a few seconds for the cold probe to reach the temperature of the warm water). As soon as this maximum temperature is reached, add the ice pieces to the water in the Styrofoam cup. Write down the maximum temperature in your data table.

8.	Gently stir the contents of the cup as the ice melts. After all the ice has melted, continue stirring until the temperature has reached a minimum (and begins to rise). Write down the minimum temperature in your data table.

9.	Data collection will stop after 5 minutes, or select Stop to halt data collection before 5 minutes have elapsed. Measure and record the mass of the 250-mL beaker, Styrofoam cup, and water (original water + ice melt).

10.	A graph of temperature vs. time is displayed on the calculator screen. To confirm the maximum and minimum values you recorded earlier, use the  and  keys to examine the data points along the curve. As you move the cursor, the time (X) and temperature (Y) values of each data point are displayed above the graph.

11.	Select  to return to the Main screen. Select , and the select  to exit EasyData.

DATA

mass of beaker and cup 	______ g

mass of beaker, cup, and warm water 	______ g

mass of beaker, cup, and water

(original + ice melt) 	______ g

initial water temperature (maximum)	______ °C

final water temperature (minimum)	______ °C

PROCESSING THE DATA

1.	Determine the mass (in g) of warm water used (mass of beaker, cup, and warm water – mass of beaker and cup).

2.	Calculate the change in water temperature, (t (tmax – tmin).

3.	Calculate the heat (in J) lost by the cooling water using the equation

H  =  (t•m•Cp

where H = heat (in joules), (t = change in temperature (in °C), m = mass of water cooled (in g), and Cp = specific heat capacity (4.18 J/g°C for water).

4.	Determine the mass (in g) of ice melted (mass of beaker, cup, and water (original + ice melt) – mass of beaker, cup, and warm water).

5.	Use your answers to Steps 5 and 6 to calculate the heat needed to melt 1 g of ice (J/g).

6.	An accepted value for the heat of fusion of ice is 334 J/g. Calculate your percent error using the formula

% Error  =  X 100

EasyData Tutorial 3

Graphing Your Motion Using CBR, CBR 2 or Go!Motion

This tutorial will guide you through the process of setting up a CBR, CBR 2 or Go!Motion, which are collectively known as motion detectors, and collecting some basic motion data. Once this tutorial has been completed, proceed to the next tutorial “Distance Match” to learn how to use some of the special data-collection features of EasyData.

MATERIALS

| TI graphing calculator | CBR, CBR 2, or Go!Motion |
| --- | --- |
| Vernier EasyData App |  |

PROCEDURE

NOTE: This activity is easier to complete if you work with a partner, so that one person’s motion is being measured and the other person is operating the devices.

1.	Place a motion detector on a tabletop facing an area free of furniture and other objects. The motion detector should be at a height of about 15 cm above your waist level.

2.	Use short strips of masking tape on the floor to mark the 1 m, 2 m, 3 m, and 4 m distances from the motion detector.

3.	Turn on the graphing calculator and make sure that it is on the home screen.

4.	Connect your motion detector to either the I/O or USB port on the graphing calculator. If you are connecting through the USB port, EasyData will start automatically.

5.	If EasyData does not automatically launch, then press  to open the Applications menu and select EasyData. The application will automatically identify the motion detector and display a current distance reading on the Main screen. Select  (press the  key) and then select New to reset the program.

6.	Have your partner stand in front of the motion detector at the 1 m mark. Select  (press the  key) to begin data collection. You will hear the motion detector begin to click. Wait 1 second then begin walking away for 2 seconds. Stop and begin walking toward the motion detector until it stops clicking.

7.	Examine the graph of your motion Use the  and  keys to examine the data points along the curve. As you move the cursor, the time (X) and the distance (Y) values of each data point are displayed above the graph.

8.	Select  (press the  key) to return to the Main screen. Select  (press the  key), and the select  to exit EasyData.

EasyData Tutorial 4

Distance Match Using CBR, CBR 2 or Go!Motion

The EasyData App contains two special options for measuring motion: Distance Match and Ball Bounce. Any Vernier or TI motion detector can be used with EasyData, and this tutorial will guide you through the process.

MATERIALS

| TI graphing calculator | CBR, CBR 2, or Go!Motion |
| --- | --- |
| Vernier EasyData App |  |

PROCEDURE

NOTE: This activity is easier to complete if you work with a partner, so that one person’s motion is being measured and the other person is operating the devices.

1.	Place a motion detector on a tabletop facing an area free of furniture and other objects. The motion detector should be at a height of about 15 cm above your waist level.

2.	Use short strips of masking tape on the floor to mark the 1 m, 2 m, 3 m, and 4 m distances from the motion detector.

3.	Turn on the graphing calculator and make sure that it is on the home screen.

4.	Connect your motion detector to either the I/O or USB port on the graphing calculator. If you are connecting through the USB port, EasyData will start automatically.

5.	If EasyData did not automatically launch, then press  to open the Applications menu and select EasyData. The application will automatically identify the motion detector and display a current distance reading on the Main screen. Select  and then select New to reset the program.

6.	Select , and select Distance Match.

7.	Select . On the next screen (“Distance Match”), you will see brief instructions for the activity. Your goal is to move toward, away from, or stand still in the field of vision of the motion detector so that your motion matches the graph on the calculator screen. Select  to see the graph you are to match.

8.	Take your starting position in front of the motion detector. When you are ready, select . When the motion detector makes a clicking noise, move according to your plan. The data collection is complete when the clicking stops.

9.	Examine the graph of your motion. If you wish to try again with the same graph, select . To see another graph to match, select .

10.	Select  to return to the Main screen. Select , and the select  to exit EasyData.

EasyData Tutorial 5

Temperature Probe Response Time Using LabPro or CBL 2 and a Temperature Probe

In this activity you will investigate the response time of a temperature probe, and you will learn more about the EasyData application. Once this tutorial has been completed, proceed to the next tutorial “Boyle’s Law” to learn how to use additional data-collection features of EasyData.

MATERIALS

| TI graphing calculator | two 250 mL beakers or cups |
| --- | --- |
| TI CBL 2 or Vernier LabPro interface | 100 mL hot water |
| Temperature probe | tap water |
| Vernier EasyData App | ice cubes |

Figure 1

PROCEDURE

1.	Place about 100 mL of tap water into a 250 mL beaker. Add two or three ice cubes.

2.	Place the temperature probe into the beaker of cold water and stir briefly. Position the probe in the beaker as shown in Figure 1.

3.	Connect the LabPro or CBL 2 interface to the calculator’s I/O port. Firmly press in the cable ends. Connect the temperature probe to CH1 of the interface.

4.	Turn on your calculator, press  to open the Applications menu, and select EasyData. The Main screen will be displayed and the current temperature reading is displayed at the top of the Main screen. Select  (press the  key) and then select New to reset the program.

5.	Notice that EasyData is set up to measure temperature in ºC. Let’s change the program to measure in ºF.

  - Select  (press the  key) from the Main screen.

  - Select CH1:Temp.

  - Select  (press the  key).

  - Select F and then select  (press the  key).

6.	The default experiment length is 180 seconds, but let’s change that to 100 seconds.

  - Select  (press the  key) from the Main screen.

  - Select Time Graph.

  - Select  (press the  key).

  - Press the  key on the calculator and type 4 as the sample interval, in seconds.

  - Select  (press the  key).

  - Press the  key on the calculator and type 25 as the number of samples.

  - Select  (press the  key).

7.	Confirm that the time graph settings are correct and select  (press the  key).

8.	Place about 150 mL of hot water in a second 250 mL beaker.

9.	You are ready to collect data. The temperature probe should still be sitting in the beaker of ice water. Select  (press the  key) to begin data collection, but do not stir or move the water.

10.	When exactly 20 seconds have gone by (when the fifth data point appears on the calculator screen), quickly move the temperature probe to the beaker of hot water. Do not stir the water or move the probe during data collection.

11.	Once data collection is complete, a graph of temperature vs. time will appear. Notice that the probe did not read the new temperature instantly; it took a little while to respond. This is a characteristic of any sensor. Move the cursor right or left (use  or ) to examine the data pairs on the displayed graph of temperature vs. time. As you move the cursor, the time (X) and temperature (Y) values of each data point are displayed above the graph. Move the cursor to the point when the probe was first placed in the hot water. Write down the time value. Move the cursor to find the highest temperature and write down the time value. How long did it take for the Temperature Probe to stabilize at the water’s temperature?

12.	Select  (press the  key) to return to the Main screen. Select  (press the  key) and then select  to exit EasyData.

EasyData Tutorial 6

Boyle’s Law Using LabPro or CBL 2 and a Gas Pressure Sensor

In the previous tutorial you learned how to collect time-based data using a temperature probe. This tutorial will guide you through using the Events with Entry data collection mode to investigate the relationship between the pressure and volume of a gas, also known as Boyle’s law. The Events with Entry mode in the EasyData App collects a data point each time you select KEEP. The application then prompts you to enter a corresponding value for that point.

MATERIALS

| TI graphing calculator | Vernier Gas Pressure Sensor |
| --- | --- |
| TI CBL 2 or Vernier LabPro interface | 20 mL plastic syringe |
| Vernier EasyData App |  |

PROCEDURE

1.	Connect the LabPro or CBL 2 interface to the calculator’s I/O port. Firmly press in the cable ends. Connect the Gas Pressure Sensor to CH1 of the interface.

2.	Turn on your graphing calculator and make sure that it is on the home screen. Press  and then select EasyData. Notice that the program automatically identifies the Gas Pressure Sensor. It displays the channel it is connected to and a pressure reading in kilopascals (kPa). Select  and then select New to reset the program.

3.	Prepare the Gas Pressure Sensor and an air sample for data collection.

- With the 20 mL syringe disconnected from the Gas Pressure Sensor, move the piston of the syringe until the front edge of the inside black ring (see the figure at right) is positioned at the 10.0 mL mark.

- Attach the 20 mL syringe to the valve of the Gas Pressure Sensor. The Vernier Gas Pressure Sensor has a white stem protruding from the end of the sensor box—attach the syringe directly to the white stem with a gentle half-turn.

4.	To collect pressure vs. volume data for Boyle’s law, you will collect the data in Events with Entry mode.

  - Select .

  - Select Events with Entry.

5.	You are now ready to collect pressure and volume data. Select  to begin data collection and follow the on-screen instructions.

6.	Move the piston so the front edge of the inside black ring is positioned at the 5.0 mL line on the syringe. Hold the piston firmly in this position until the pressure value displayed on the calculator screen stabilizes and select .

7.	Type 5, the gas volume in mL, and then select . You have recorded the first pressure-volume data pair.

8.	To collect another data pair, move the syringe to 7.5 mL. When the pressure reading stabilizes, select  and type 7.5 as the volume. Note that the first two points are now plotted.

9.	Repeat Step 8 for volumes of 10.0, 12.5, 15.0, 17.5, and 20.0 mL. As you conduct the experiment, note that the graph is updated after you record a pressure reading.

10.	After you have collected your final data pair, select .

11.	Use the  or  keys to examine the data pairs on the graph.

12.	Boyle’s law states, in brief, that the pressure and volume of a sealed vessel of gas are inversely proportional when the temperature of the gas is held constant. Does the graph of your data support Boyle’s law?

13.	Select  to return to the Main screen. Select  and then select  to exit EasyData.

EasyData in Detail

EasyData operates in a convenient, intuitive manner because the on-screen menu items are selected by pressing the calculator keys located directly beneath the graphing screen.

Main Screen

The Main screen of EasyData is shown at the right. The top portion of the screen displays the sensor currently in use – in this case a temperature probe. A sensor reading is also displayed. The lower portion of the screen displays the default data collection mode for the sensor. Five options are listed across the bottom of the screen, which correspond to the five calculator keys directly below each option. The Main screen of EasyData can be used as a meter; the sensor readings are updated approximately every second.

File Menu

The File menu contains four options. When you select File by pressing the  key, a pop up menu appears, as shown at right. When you select the first option, New, the EasyData program is reset and it will return to the Main Screen. You should select New at the beginning of an experiment as a matter of routine, or when you want to confirm that the program has all of the default values in place for the sensor and the data collection. Select Help to view the four screens of the help tips for EasyData. Select About to see the splash screen, which will tell you which version of EasyData you are running and the version of any connected interface. After a moment, the program will return to the Main screen. Select Quit to exit EasyData.

Setup Menu

The Setup menu lists options for the sensor (or sensors) in use, for the data collection mode, and for zeroing a sensor. Shown at right is the Setup menu when a temperature probe is used. Please see the next section for more information about the Setup menu.

Start, Graph, and Quit Options

Select  to begin data collection. Select  to view a graph of data that you have already collected. Select  to exit the EasyData application.

Using the Setup Menu

Depending on the sensor, or sensors, that you are using, the Setup menu will offer a list of options. To the right you’ll see the Main screen of EasyData when you select . The sensors will always be at the top of the list, followed by the data collection options. The last item listed will be Zero…, the option to zero a sensor. The following example shows you how to use the Setup menu with a temperature probe.

1: TEMP

When you select this option, the Sensor Setup screen is displayed (shown at right). This screen identifies the sensor and the units of measure. There are three options displayed at the bottom of the screen: , , and  . When you select  or , you are sent back to the Main screen.

When you select , you can view the units of measure that are available to use with the sensor (shown at right). Note that, for the EasyTemp probe, you may choose to display and record the temperature readings in degrees Celsius, degrees Fahrenheit, or the Kelvin absolute temperature scale. (Kelvin temperature values are not referred to as “degrees”, nor is the degree sign used.)

2: Time Graph…

When you select the time graph option, the time graph default settings for the EasyTemp probe are displayed (shown at right). Please note that these are the default values for any auto-ID temperature sensor that you may use with EasyData. There are three options displayed at the bottom of the screen: , , and  . When you select  or , you are sent back to the Main screen.

Select  to change the time graph settings. The first screen to appear is the Sample Interval screen. It displays the current data collection interval, in seconds, with the cursor next to the value (shown at right). You can delete the current value by pressing  or by pressing  and . You can also type over the current value by pressing  and entering a new sample interval. Note that EasyData allows only certain sample intervals; please check Appendix D for a complete list of accepted sample intervals. If you enter a sample interval that EasyData does not support, an error message will appear and a sample interval will be chosen for you.

If, at any time, you wish to stop what you are doing and return to the Main screen, select . The original values will be restored.

When you have entered a new sample interval, or decide to use the default interval, you may continue by selecting . A new screen will appear, entitled “Number of Samples” (shown at right), which displays the default value. You may delete and enter numbers in this screen as you did with the sample interval screen. Again, note that EasyData allows a maximum number of samples based on the sensor in use. See Appendix D for a complete list of accepted values.

When you have made the desired changes, select . The new time graph settings will be displayed (shown at right). EasyData always expresses time in seconds; it cannot be changed to minutes or hours. If you select  from this screen, the original settings will be restored and you will go to the Main screen. If you select , you will go back to the sample interval screen. Select  to accept the new time graph settings and return to the Main screen.

3: Events with Entry…

When you select the events with entry option, you are changing the data collection mode to be time independent. There are no other choices to be made, thus after you select Events with Entry…, the screen goes blank for a second or two and then returns to the Main screen. The change is displayed at the bottom of the screen, 
next to Mode:

4: Zero…

Select this option when you wish to set the current sensor reading to be zero. Allow the sensor readings to stabilize, and then select .

Data Collection

Time Graph

Select  from the Main screen to begin data collection. The screen will change to a graph and the data will be plotted (shown at right). The data collection will cease automatically, according to the sampling parameters. However, you can halt the data collection early by selecting .

After the data collection ends, the graph will be autoscaled to best fit the data. The calculator vernacular for this process is “ZoomStat”. At right is the autoscaled version of the previous graph. Press  or  to trace the data and examine individual data pairs. Select  to return to the Main screen.

Events with Entry

Select  from the Main screen to begin data collection. 
The screen will change to display a sensor reading and list the data point that you will be collecting (shown at right). When the reading has stabilized, select  to collect the data point.

The screen will change. The cursor will rest in a box beneath the title “Enter Value”. Type the value for the independent variable (X-value), and then select . Repeat this process to collect subsequent data points.

After you have collected two data points, the screen will display a graph of your data. The current sensor reading will appear at the top of the screen, and you will have two options from this point on. Select  to collect a data point, or select  to halt the data collection and see an autoscaled graph of your data.

Appendices

A: EasyData vs. DataMate

The EasyData application is a simpler and easier to use alternative to the DataMate calculator program. For an expanded set of program features it may be necessary to use DataMate instead of EasyData. The reference chart below highlights the important differences between EasyData and DataMate so that you can select the program that is right for you.

| Program Feature | DataMate | EasyData |
| --- | --- | --- |
| Works with non auto-id sensors | yes | no |
| Works with auto-id sensors | yes | yes |
| Works with USB sensors (EasyTemp and Go!Motion) | no | yes |
| Works with CBR or CBR 2 | no | yes |
| Number of analog sensors used at one time | 1-4 | 1-2 |
| Number of motion detectors used at one time | 1-2 | 1 |
| Large digital readout of values | no | yes |
| Analysis tools built into program | yes | no |
| Perform selected graphing operations | yes | no |
| Store multiple trials of data | yes (3) | no |
| Remote data collection | yes | no |
| Data-collection modes | 5 | 2 |
| Save and Load previously collected data from LabPro | yes | no |
| Calibrate sensors | yes | no |

B: EasyData Help

The EasyData application contains a file of helpful tips. To access the Help feature of EasyData, start the application and performing the following steps.

- From the Main screen, select .

- Select Help and the first tip is displayed.

- Select  to see the next tip. There are a total of four Help screens.

- Select  to move to the next tip,  to see the previous tip, or  to return to the Main screen.

C: EasyData Error Messages

There are five different error messages that may appear during the operation of EasyData.

1.	No Interface Detected: The calculator could not find an EasyTemp probe, CBR, CBR 2, LabPro or a CBL 2 interface. Check all physical connections and power supply.

2.	No Interface: The calculator option selected requires an EasyTemp probe, CBR, CBR 2, LabPro or a CBL 2 interface attached. Connect the necessary data collection device.

3.	No Data: The graph option was chosen before collecting data.

4.	Sensor Conflict: This message alerts you to a few possibilities:

- You have connected a sensor to the wrong Channel on a CBL 2 or a LabPro. EasyData recognizes only analog Channels 1 and 2 and digital Channel 1.

- You are trying to use a sensor that EasyData does not support. Please refer to the list of supported sensors in Appendix E below.

- You have connected a Motion Detector and an analog sensor to a CBL 2 or a LabPro. EasyData does not support this option.

- Communication Error: The calculator lost contact with the EasyTemp probe, CBR, CBR 2, LabPro or a CBL 2 interface. Check all physical connections and power supply.

6.	No Sensors: The calculator option selected requires a sensor. Connect  or check the connection of the Auto-ID sensor or sensors.

7.	Memory Error: If this appears at application startup, there is insufficient RAM to run the EasyData application. Delete items in RAM to free up necessary memory for EasyData.

7.	Memory Error: If this appears at the start of data collection, select OK  to continue anyway or delete items in RAM to free up necessary memory for data collection.

7.	Calculator OS: The current installed OS is not compatible with EasyData. Update your calculator’s operating system by visiting education.ti.com.

D: Supported Data Collection Rates

| Sample Intervals (seconds/sample) | Max. No. of Samples | Sensor |
| --- | --- | --- |
| 0.5 – 10 | 200 | EasyTemp |
| 0.02 – 300 | 200 | CBR, CBR2, or Go!Motion (via I/O port) |
| 0.02 – 10 | 200 | CBR2, or Go!Motion (via USB port) |
| 1 × 10–4 – 300 | 500 | 1 Analog Sensor (via LabPro or CBL 2) |
| 2 × 10–4 – 300 | 500 | 2 Analog Sensors (via LabPro or CBL 2) |
| 0.02 – 300 | 200 | Motion Detector (via LabPro or CBL 2) |

E: Supported Sensors for EasyData

The following auto-id analog sensors may be used with EasyData.  NOTE: Non auto-id sensors are not supported in EasyData.

| Stainless Steel Temperature | Electrode Amplifier | Flow Rate |
| --- | --- | --- |
| Vernier Light | Gas Pressure | Force Plate |
| TI Light | Magnetic Field | Instrument Amplifier |
| Barometer | Oxygen Gas | ORP Sensor |
| Low-g Accelerometer | Relative Humidity | Surface Temperature |
| 25-g Accelerometer | Student Force | pH |
| Conductivity | Dual-Range Force | Extra-Long Temperature |
| Current | UVA Light | Thermocouple |
| Voltage | UVB Light | EKG |
| Carbon Dioxide Gas | Salinity | Microphone |
| Hand-Dynamometer | Spirometer |  |

F: Non-Supported Sensors for EasyData

These sensors require calibration and/or other features not supported in EasyData.

| Dissolved Oxygen | Calcium ISE | Nitrate ISE |
| --- | --- | --- |
| Chloride ISE | Ammonium ISE | Colorimeter |
| Turbidity | Heart Rate | Photogate |
| 3-Axis Accelerometer* | Blood Pressure |  |

*This sensor can be used as a single or double channel accelerometer. EasyData does not support more than two inputs.