Answer the following using nouns, verbs, and –ly words.

1. Using the data given from this calibration, determine the conversion equation, with the slope and y-intercept. Use the formula to get the voltage for the value requested.

| Voltage from CBL2( pH probe | Known pH (from Standard) |
| --- | --- |
| 0.2852 | 13 |
| 2.4032 | 5 |
| Equation | Slope | y-intercept | Voltage | pH |
|  |  |  |  | 7.7 |

2. Why would you calibrate a probe?
3. How did you calibrate the probe that was assigned to you? What probe ws it? {This was not the probe for pH!}
4. From the White Boards, which probe seemed the hardest to calibrate? Why?
5. From the White Boards, which probe seemed the easiest to calibrate? Why?